Qubit 4 Quantification of double stranded DNA

Use 0.5 mL Qubit Assay Tubes (cabinet above the Pearl Nanophotometer

1. Need a tube for each of two DNA standards, and one tube for each sample.

2. Add 10 ul Standard 1 and 10 ul Standard 2 to each of two tubes. Add 2 ul of miniprep DNA to its own assay tube.

3. Add 190 ul dsDNA BR working solution to each standard tube, and 198 ul to each tube with 2 ul of miniprep DNA. Give each tube a quick vortex and space ship spin. Allow 2 minutes to incubate.

4. Choose 1x dsDNA broadrange on Qubit 4. Run standards first. Standard 1 then Standard 2. Then analyze samples. Make sure the instrument knows that you are using 2 ul of miniprep sample.

5. Concentration values are reported in ng/ul